TOWN COUNCIL

August 30, 2004

A special meeting of the Jamestown Town Council was called to order at the Jamestown Philomenian Library, 26 North Road at 7:06 PM by Council President Kenneth G. Littman.  The following members were present:

##### David J. Long, Vice President

##### Claire M. Ferguson

Julio J. DiGiando

###### absent:		Guy J. Settipane

also present were:

Chief Thomas Tighe, Interim Town Administrator

##### Arlene D. Petit, Town Clerk

Steven J. Goslee, Public Works Director

##### J. William W. Harsch, Town Solicitor

1)  	Replacement of Temporary Water Line

The Town Administrator informed the Council that on Thursday, the Public Works Director, Town Solicitor and he met with RIDOT to discuss the options available to the Town of Jamestown for the replacement of the temporary water line on the Jamestown -Verrazano Bridge.  Chief Tighe reported that RIDOT seemed to be willing to work with the Town with our request to use a flexible hose rather than the permanent yellow PVC pipeline to be installed by RIDOT.

Public Works Director Steven Goslee stated that he had requested the flow characteristics for the flexible hose in order to present them to the Council, but the manufacturer could not provide them in time for this meeting.   However, Mr. Goslee noted that with the engineering data that he has reviewed, the flexible hose is more than adequate.  More information will be provided to the Council by the manufacturer at the next Council meeting.   Mr. Goslee informed the Council that initial discussions with the Department of Health indicate that their number one option would be for a permanent pipeline tunneled under the Bay; however, the cost of that option is prohibitive.  The Town is hopeful that the Department of Health will give the flexible hose consideration as a temporary situation to be used in emergencies.

Council questions included:  life expectancy of flexible hose, storage location and any additional costs to be considered.

Mr. Goslee informed the Council that the flexible hose is National Sanitation Foundation approved for water supply.  The life expectancy of the hose is approximately 15 years; however, if stored under a protected cover it has a longer life.  Costs can be reduced by approximately $8,000 if an alternative type trailer were to be used.  The hose would be connected to North Kingstown on the north side, running under the bridge to meet with our hookup on the south side.

The Town Solicitor stated that RIDOT has made it very clear that if the Town chooses to use the flexible hose, the Town would then be responsible for the costs of laying it down, removal and all maintenance.  Mr. Harsch suggested that the Town show the State the costs it will be incurring for the storage, maintenance and connection of the flexible pipe and show that the Council is in favor of this alternative option.  Mr. Harsch also stated that the Town might wish to consider the delivery of water to the system prior to it reaching the water plant.

The Council discussed the fact that the maintenance of the present system has been the State’s responsibility, while the new system would be the responsibility of the Town.

The Town Administrator informed the Council that RIDOT would be awarding the contract for the replacement pipe on September 10 and will need an answer from the Town before that date.

It was moved by Councilor Long, seconded by Councilor DiGiando that the Town Council of the Town of Jamestown hereby supports the proposal for a temporary, reusable water line to cross the Jamestown-Verrazano Bridge and connect the Town’s water system with that of the Town of North Kingstown and commits the Town to undertake full responsibility for all costs and actions required for the acquisition, operation, maintenance and protection of such temporary water line beyond the commitment of the Rhode Island Department of Transportation to contribute $250,000.00 toward the procurement of such line and to allow the Town to lay such temporary water line across such bridge when necessary to assure the Town of an adequate, safe and reliable water supply through the importation of water from, the Town of North Kingstown.  So unanimously voted.

It was moved by Councilor Long, seconded by Councilor Ferguson that because of the need for prompt action by the Town of Jamestown in executing the final version of the Jamestown-Verrazano Bridge water line contract with the Rhode Island Department of Transportation, and because the draft contract has previously been considered, that the Town Council of the Town of Jamestown authorizes the President of the Town Council to execute the final version of such contract on behalf of the Town so long as it does not, when approved by the Town Solicitor, substantially differ from the draft contract.  So unanimously voted.

- Jamestown Chamber of Commerce

a)	Event Application for September 11, 2004 to hold the Annual Waterfront Festival  – East Ferry Square

It was moved by Councilor DiGiando, seconded by Councilor Long to approve the Event Application to hold the Annual Waterfront Festival at East Ferry Square on September 11, 2004 from the Jamestown Chamber of Commerce, subject to the resolution of debts, taxes and appropriate signatures.  So unanimously voted.

- One-Day Peddler’s License for September 11, 2004 from Noon to 4: PM for the sale of food and beverages

It was moved by Councilor DiGiando, seconded by Councilor Long to approve the One-Day Peddler’s License from the Jamestown Chamber of Commerce to sell food and beverages at the Waterfront Festival on September 11, 2004 from Noon to 4:00 PM, subject to the resolution of debts, taxes and appropriate signatures.  So unanimously voted.

c)	Event Application for September 12, 2004 to hold a Vigil Parade – Narragansett Avenue in memory of September 11, 2001

It was moved by Councilor DiGiando, seconded by Councilor Ferguson to approve the Event Application for a Vigil Parade on September 12, 2004, subject to proper signatures.  So unanimously voted.

There being no further business before the Council, it was moved by Councilor Long, seconded by Councilor Ferguson to adjourn at 7:40 PM.  So unanimously voted.

Attest:

Arlene D. Petit

Town Clerk

c:	Town Council Members (5)

Town Administrator

Town Solicitor

Administrative Circulation